## Sheet1
Parameter | Symbol | Value | Source
GPU thermal design power | gamma | 0.700 kW | NVIDIA (2024)
GPU purchase price | P_GPU | $25,000 | NVIDIA (2024)
GPU useful life | L | 3 years | Industry standard
GPU utilization rate | beta | 0.70 | Barroso et al. (2018)
Hours per year (365.25 x 24) | H | 8766 hr/yr | Calendar
Amortized hardware cost per GPU-hour | rho | $1.36/hr | Derived
Amortized networking cost per GPU-hour | eta | $0.15/hr | Liu et al. (2023)
PUE baseline (best-practice free-air cooling) | phi | 1.08 | Google (2024)
PUE temperature sensitivity per degree C | delta | 0.015 per C | Flucker et al. (2013)
Free-cooling temperature threshold | theta_bar | 15 C | Industry standard
Data center facility lifetime | D | 15 years | Turner and Townsend (2025)
Latency degradation per ms of RTT | tau | 0.0008 per ms | Calibrated
Bilateral sovereignty premium | lambda | Eq. (2) | Bailey et al. (2017)
Training share of compute demand | alpha | 0.50 | Deloitte (2025)
Total global compute demand | Q | 6e10 GPU-hr/yr | Epoch AI (2024)